## Sheet1
Building Site
Item | Task | Who | Date Checked | Condition |  |  | Replacement
|  |  |  | Sat | Unsat | Comments | Installed | Replacement Cycle in Years | Estimated Replacement Date | Estimated Replacement Cost
Concrete curbs | Check for cracks, spalling, growth from joint
Concrete walkways | Look for uneven surfaces, ponding, growth from joints
Asphalt paving - East & West lot | Inspect for lifting, undulating, or broken surfaces
Asphalt paving -North lot | Inspect for lifting, undulating, or broken surfaces
Retaining or freestanding walls | Look for cracks, bulging, other signs of structural failure
Retention Pond/Creek | Look for excessive erosion, plant growth, proper slope
Trees | Look for disease and damage. Trim and fertilize
Shrubs | Look for disease and damage. Trim and fertilize
Lawns and groundcover | Look for disease and damage. Fertilize, water, mow, edge
Site lighting | Visually inspect, replace lamps
Berms/Irrigation ditches | Look for excessive erosion, plant growth, proper slope
Storm drains (ditch & concerte) | Look for excessive erosion, proper slope, obstructions
Fences - metal | Inspect for rust, warped, or damaged posts and rails
Sign Posts/Road Signage | Inspect for rust, warped, or damaged posts and rails
Concrete sewer lines | Check for cracks, seepage, spalling, growth from joint, or other signs of structural failure
Landscape Elements | Look for signs of damage or deterioration
Foundation
Item | Task | Who | Date Checked | Condition |  |  | Replacement
|  |  |  | Sat | Unsat | Comments | Installed | Replacement Cycle in Years | Estimated Replacement Date | Estimated Replacement Cost
Concrete foundation walls | Look for moisture penetration, cracks, spalling
Concrete footings | Look for moisture penetration, cracks, spalling
Slab on grade | Inspect for cracks, chips, uneven surfaces
Concrete foundation grade beam | Look for stress cracks, moisture penetration, spalling
Wildlife/Varmint Inspection | Check for nests, holes, animal droppings, material decay
Building Structure System
Item | Task | Who | Date Checked | Condition |  |  | Replacement
|  |  |  | Sat | Unsat | Comments | Installed | Replacement Cycle in Years | Estimated Replacement Date | Estimated Replacement Cost
Brick bearing walls | Check for cracks, missing mortar, straight and true walls
Concrete masonry bearing walls | Look for cracks, spalling, water damage, deflection
Steel beams | Examine for signs of rust, inspect fixings
Steel columns | Examine for signs of rust, inspect fixings
Concrete column | Look for cracks, spalling, water damage, deflection
Building Envelope - Exterior Walls
Item | Task | Who | Date Checked | Condition |  |  | Replacement
|  |  |  | Sat | Unsat | Comments | Installed | Replacement Cycle in Years | Estimated Replacement Date | Estimated Replacement Cost
Brick masonry | Look for surface salts, failing mortar, damaged bricks
Exterior paint | Visually inspect for flaking, blistering, weathering
Exterior Doors | Inspect for damaged jambs, moldings, operational hardware, seal, security
Building Envelope - Roofing
Item | Task | Who | Date Checked | Condition |  |  | Replacement
|  |  |  | Sat | Unsat | Comments | Installed | Replacement Cycle in Years | Estimated Replacement Date | Estimated Replacement Cost
Membrane/Built up roofing | Look for cracks, holes tears, protective coating, adhesion
Metal flashing | Check for loose, raised fixings; raised cappings
Gutters (winter) | Look for debris, corrosion, holes, faulty connections
Downspouts | Check for clogs, leaks, proper distance of discharge from bldg
Roof drains and overflow drains | Look for debris, corrosion, holes, faulty connections
Steep slope roof | Check for seam seperation, deterioation, gaps
Windows and Doors
Item | Task | Who | Date Checked | Condition |  |  | Replacement
|  |  |  | Sat | Unsat | Comments | Installed | Replacement Cycle in Years | Estimated Replacement Date | Estimated Replacement Cost
Aluminum windows | Check for water seepage, cracked panes, deteriorated putty.
Wood doors, frames and hardware | Inspect for damaged jambs, moldings, operational hardware
Metal doors and frames | Inspect for damaged jambs, moldings, operational hardware
Interior Finishes
Item | Task | Who | Date Checked | Condition |  |  | Replacement
|  |  |  | Sat | Unsat | Comments | Installed | Replacement Cycle in Years | Estimated Replacement Date | Estimated Replacement Cost
Gypsum board ceilings - clear story | Visually inspect for water stains, flaking paint, other damage
Acoustic tile | Look for stains, cracks, missing or loose tiles
Suspended acoustic tile | Look for stains, cracks, missing or loose tiles
Brick interior walls | Inspect for missing or damaged bricks and mortar
Ceramic tile walls | Look for cracked tile, bulges, missing or damage grout
Wood trim | Examine for damaged, missing molding, secure connection
Ceramic tile flooring | Look for damaged tiles, missing or damaged grout
Concrete flooring | Look for cracks, chipped or broken pieces, stains
Resilient flooring | Check for missing, damaged tiles, adhesion
Carpet | Clean; look for excessive wear, holes, tears, stains
Window coverings | Check for damage, secure connections, excessive wear/dirt
Metal stairs and railings | Examine alignment, look for excessive wear, deterioration
Wood casework | Check for rotting, decaying wood, operational hardware
Interior paint and/or clear finishes | Look for flaking, dirt, water stains or blistering
Interior glazing | Check for cracked or broken glass
Baseboards
Mechanical Systems
Item | Task | Who | Date Checked | Condition |  |  | Replacement
|  |  |  | Sat | Unsat | Comments | Installed | Replacement Cycle in Years | Estimated Replacement Date | Estimated Replacement Cost
Boiler | Inspect valves for leaks, test water quality
Water heaters | Look for leaks, drain to reduce sediment build-up
Metal ductwork | Inspect for holes, loose connections
Registers | Examine for dirt, flaking paint, connections
Fan coil units | Ensure regular inspection by a qualified professional
Air handling units | Keep clear of debris/exhaust; ensure regular inspection
Condenser units | Ensure regular inspection by a qualified professional
Exhaust fans | Ensure working order, keep vent clear of dirt and debris
Plumbing waste and vent piping and fittings | Visually inspect for leaks, corrosion, damage
Plumbing supply piping and fittings | Visually inspect for leaks, corrosion, damage
Plumbing fixtures | Inspect for drips, leaks, ease of operation
Kitchen equipment / disposal (Staff lounge) | Inspect for drips, leaks, ease of operation
Utilities (water, heating, sewer, etc.) | Ensure regular inspection by a qualified professional
Electrical Systems
Item | Task | Who | Date Checked | Condition |  |  | Replacement
|  |  |  | Sat | Unsat | Comments | Installed | Replacement Cycle in Years | Estimated Replacement Date | Estimated Replacement Cost
Electrical service entrance | Keep free of obstructions, dirt
Main switchgear | Make sure accessible, inspect for corrosion, dirt, cobwebs
Distribution panels | Make sure accessible, inspect for corrosion, dirt, cobwebs
Interior incandescent light fixtures | Check bulbs, fittings, wall connections
Interior fluorescent light fixtures | Check bulbs, fittings, wall connections
Exterior light fixtures | Visually inspect, replace lamps
Electrical outlets | Inspect for damage, secure plate connection
Communications systems | Ensure proper operation
Life/Safety
Item | Task |  | Date Checked | Condition |  |  | Replacement
|  |  |  | Sat | Unsat | Comments | Installed | Replacement Cycle in Years | Estimated Replacement Date | Estimated Replacement Cost
Fire extinguishers | Test proper operation | [7 empty] | N/A
Fire alarm system | Test proper operation
Smoke detection systems | Test proper operation
Heat sensors | Test proper operation
Panic hardware | Check operation and compliance with existing codes
Camera system | Check operation, view, focus
Automated Defibrillator | Test operation, ensure supplies are current
Security lock system | Ensure regular inspection by a qualified professional
Security alarm system | Ensure regular inspection by a qualified professional
Back Up generator | Ensure regular inspection by a qualified professional
Interior - Furniture, Appliances, & Equipment
Item | Task | Who | Date Checked | Condition |  |  | Replacement
|  |  |  | Sat | Unsat | Comments | Installed | Replacement Cycle in Years | Estimated Replacement Date | Estimated Replacement Cost
Cabinets | Consider condition, need and function
Chairs (Public Areas) | Condition, stability, function
Chairs (Staff) | Comfort, ergonomics
Computers/Laptops | Ensure they still meet technology needs
Copier Public (color) | Dependability, meets patron needs
Copier Public (B&W) | Dependability, meets patron needs
Copier (Admin) | Dependability, meets staff needs
Copier (Graphics) | Dependability, meets Outreach needs
Office Furniture | Consider condition, need and function
Printers (Staff, Public, Graphics) | Ensure they still meet technology needs
Refrigerator (Staff Lounge) | Look at maintenance needs, staff needs
Stove (Staff Kitchen) | Look at functionality